[image: image1.png]945 McKinney St.e Suite 111 @ Houston, TX 77002 e v 713.224.5550 e www.horizon-management.com





Horizon Management’s HVAC Maintenance Tips

Preventative maintenance can prevent disruptions in your A/C service and avoid potential water damage from a malfunctioning A/C.  As the homeowner, you are responsible for the A/C system in your home and this is not covered by your HOA assessment.  In order to maintain an efficient HVAC system we suggest you have the following components are inspected at least 1 time per year:

· Check Air Flow

· Check Thermostats

· Check & Adjust Refrigerant levels

· Lubricate Blower Motor

· Check Refrigerant Charge

· Clean & Check Condenser

· Check Volts and Amps on all Motors

· Check all Electrical Connections

· Test Carbon Monoxide Levels

· Duct Evaluation

[image: image2.png]@HORlZON MANAGEMENT, INC.





